## Time
Row | Value | Numerical
T_start | 2023-06-26 16:16 | 739063.6778
T_end | 2023-06-26 16:24 | 739063.6837
T_mid | 2023-06-26 16:20 | 739063.6807
Duration_min |  | 8.5

## basics
Row | Value °C/mbar
T FR | 923.978
T AR | 986.4327
dp FR | 47.7596
dp AR | 54.9495
dT | 62.4547

## FuelC_simp
Row | abs | rel
Fuel | 0.0002523
CH4 | 2.0668e-05 | 0.081919
CO | 6.202e-05 | 0.24582
CO2 | 0.00012528 | 0.49654
C2 | 1.1105e-05 | 0.044014
C3 – C8 (FTIR) | 1.6653e-05 | 0.066005
AR carbon slip | 1.6056e-05 | 0.063638
Residual | 5.2025e-07 | 0.002062

## FuelE_simp
Row | abs | rel
Fuel | 115.5696
CH4 | 16.5786 | 0.14345
CO | 17.5667 | 0.152
CO2 | 0 | 0
H2 | 6.4182 | 0.055535
He | 0 | 0
N2 | 0 | 0
C2 | 7.2824 | 0.063013
C3 – C8 (FTIR) | 9.1562 | 0.079227
Residual | 58.5675 | 0.50677

## FuelIn
Row | Mass [kg/hr] | Energy [kW]
Primary | 23.1793 | 115.5696

## Hydro
Row | FR | AR
Spec Gs_calc_id [kg/s/MW] | 5.7241 | 24.4664
spec. Inv [kg/MW] | 108.0954 | 184.0676

## Pressure_400
Row | Height | Value | std | norm
PT_210 | -510 | 207.3177 | 33.6916 | 187.4295
PT_202 | 340 | 67.6479 | 9.2705 | 47.7596
PT_203 | 740 | 31.3548 | 9.4589 | 11.4665
PT_204 | 900 | 28.2567 | 8.7637 | 8.3685
PT_205 | 1350 | 25.8267 | 5.4738 | 5.9384
PT_206 | 3207 | 20.2135 | 7.8388 | 0.32524
PT_207 | 5963 | 19.8882 | 4.7686 | 0

## Pressure_600
Row | Height | Value | std | norm
PT_102 | 140 | 71.4345 | 10.1824 | 54.9495
PT_103 | 540 | 34.2648 | 4.0033 | 17.7798
PT_104 | 940 | 29.1741 | 2.6494 | 12.6891
PT_105 | 1350 | 27.263 | 1.5131 | 10.7781
PT_106 | 2450 | 22.9243 | 2.2695 | 6.4394
PT_107 | 5950 | 16.4849 | 1.0808 | 0

## Temperature_400
Row | Height | Value | std | norm
TT_201 | 540 | 935.5684 | 1.7349 | 19.4367
TT_202 | 940 | 930.0323 | 1.3984 | 13.9006
TT_204 | 4057 | 920.1359 | 0.66377 | 4.0042
TT_205 | 4857 | 918.0216 | 0.61859 | 1.8899
TT_206 | 5963 | 916.1317 | 0.68201 | 0

## Temperature_600
Row | Height | Value | std | norm
TT_102 | 900 | 988.2639 | 0.99954 | 1.8558
TT_103 | 2400 | 986.1472 | 0.83393 | -0.26086
TT_104 | 3200 | 985.6389 | 0.77684 | -0.76919
TT_105 | 4000 | 985.7054 | 0.76153 | -0.70269
TT_106 | 5950 | 986.4081 | 0.7065 | 0

## KPIs
Row | Var1
Oxygen Demand in the FR | 0.47879
Total Oxygen Demand | 0.44733
EtaCC | 0.93636

## OxDemTSpecies_simp
Row | OxDemT
CH4 | 0.14944
CO | 0.11211
H2 | 0.047974
C2 | 0.058343
C3 – C8 (FTIR) | 0.079473

## Infos
Row | Var1
N2 / CO2 on CO2 Lines | N2
Fuel | Biomass
Lifter | on
FR Fluidization | N2

## FR_offgas
Row | Value | Source | Value_norm | wet
C2H2 | 0.2008 | GC_FR | 0.0019642 | 0.0015125
C2H4 | 0.8296 | GC_FR | 0.0081151 | 0.006249
C2H6 | 0.007 | GC_FR | 6.8474e-05 | 5.2728e-05
CH4 | 3.8616 | GC_FR | 0.037774 | 0.029088
CO | 11.5878 | GC_FR | 0.11335 | 0.087285
CO2 | 23.4068 | GC_FR | 0.22896 | 0.17631
H2 | 4.9588 | GC_FR | 0.048507 | 0.037352
He | 0.14054 | GC_FR | 0.0013747 | 0.0010586
N2 | 56.612 | GC_FR | 0.55378 | 0.42643
C3H6 | 0.023789 | FTIR | 0.0002327 | 0.00017919
C3H8 | 0.012696 | FTIR | 0.00012419 | 9.5635e-05
C4H8 | 0.0089762 | FTIR | 8.7805e-05 | 6.7614e-05
C5H12 | 0.093889 | FTIR | 0.00091842 | 0.00070722
C6H5CH3 | 0.041988 | FTIR | 0.00041072 | 0.00031627
C6H6 | 0.35751 | FTIR | 0.0034972 | 0.002693
C8H10 | 0.0069124 | FTIR | 6.7617e-05 | 5.2068e-05
H2O | 0 | FTIR | 0 | 0.22996

## AR_offgas
Row | Value | Source | Value_norm | wet
C2H3 | 0 | GC_AR | 0 | 0
C2H6 | 0 | GC_AR | 0 | 0
CH4 | 0 | GC_AR | 0 | 0
CO | 0 | GC_AR | 0 | 0
CO2 | 2.1214 | GC_AR | 0.021827 | 0.021508
H2 | 0 | GC_AR | 0 | 0
H2O | 0 | Not Measured! | 0 | 0.014627
He |  | GC_AR
N2 | 84.7854 | GC_AR | 0.87236 | 0.8596
O2 | 10.2836 | GC_AR | 0.10581 | 0.10426

## AR_cofiring
Row | Power [kW] | Mass [kg/s]
Lance | 10.0003 | 0.00021572
Burner | 1.3889 | 2.9962e-05
Sum | 11.3892

## Offgasflow
Row | MolFlow wet kmol/s | u0
FR | 0.00071055 | 3.7473
AR | 0.0015236 | 3.7904

## OxDem_Comparison
Row | Var1
Total Oxygen Demand based on CO, H2, CH4 | 0.30952
Total Oxygen Demand based on CO, H2, CH4, C2Hy | 0.36786
Total Oxygen Demand based on all measured species | 0.44733
Oxygen Demand in the FR based on all measured species | 0.47879
Total Oxygen Demand determined from AR oxygen balance | 0.48162

## FR_GasIN
Row | sum
C3H8 | 0
CO2 | 0
H2 | 0
H2O | 0
He | 7.5218e-07
Air | 0
N2 | 0.00030679

## AR_GasIN
Row | sum
C3H8 | 5.5715e-06
CO2 | 0
H2 | 0
H2O | 0
He | 0
Air | 0.0015719
N2 | 6.7899e-05