## metrics_review
[6 empty] | functions of resilient systems |  |  |  | dependence on time |  | quantification type |  |  |  | properties of resilient systems |  |  | mathematical characteristics |  | scope |  | (all links accessed on December 1st, 2022)
authors | title | DOI | source | year | name of metric | monitor | react | learn | anticipate | time-independent | time-dependent | graph-theoretical | performance-based | score-based | composite | baseline functionality | redundancy | recovery | optimal value | interval | critical event | comparability | Derived from | studied WDS | studied WDS - comment | cluster | citation
Pelz, Peter F.; Groche, Peter; Pfetsch, Marc E.; Schaeffner, Maximilian | Mastering Uncertainty in Mechanical Engineering | 10.1007/978-3-030-78354-9 | other | 2021 | graceful degradation | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | [0, infinity], 0 is best | independent | 0 |  | none |  | 2 | Pelz.2021b
Pelz, Peter F.; Groche, Peter; Pfetsch, Marc E.; Schaeffner, Maximilian | Mastering Uncertainty in Mechanical Engineering | 10.1007/978-3-030-78354-9 | other | 2021 | rapidity of recovery | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | [0, infinity], 0 is best | independent | 0 |  | none |  | 1 | Pelz.2021b
Hashimoto, Tsuyoshi; Stedinger, Jery; Loucks, Daniel | Reliability, Resiliency and Vulnerability Criteria For Water Resource System Evaluation | 10.1029/WR018i001p00014 | other | 1983 | system's average recovery rate | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | [0,1] | change in demand; change in supply | 0 |  | none |  | 1 | Hashimoto.1982
Todini, Ezio | Looped water distribution networks design using a resilience index based heuristic approach | 10.1016/S1462-0758(00)00049-2 | other | 2000 | resilience index | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | [0,1] | change in demand; pipe failure | 1 |  | none, none, https://doi.org/10.1029/WR013i006p00885 none, none, none none, none, none | 1. extremely simplified two-loop network from Abebe and Solomatine (1998) 2. schematic looped main 3. relatively complex network (230 pipes, 167 nodes and three reservoirs) | 3 | EzioTodini.2000
Altherr, Lena C.; Brötz, Nicolas; Dietrich, Ingo; Gally, Tristan; Geßner, Felix; Kloberdanz, Hermann; Leise, Philipp; Pelz, Peter F.; Schlemmer, Pia; Schmitt, Andreas | Resilience in Mechanical Engineering – A Concept for Controlling Uncertainty during Design, Production and Usage Phase of Load-Carrying Structures | 10.4028/www.scientific.net/AMM.885.187 | other | 2018 | buffering capacity | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 0 |  | any component failure | 0 | https://doi.org/10.1201/9781315605685 | none |  | 3 | Altherr.2018
Zhuang, Baoyu; Lansey, Kevin; Kang, Doosun | Resilience/Availability Analysis of Municipal Water Distribution System Incorporating Adaptive Pump Operation | 10.1061/(ASCE)HY.1943-7900.0000676 | other | 2013 | integral waterservice availability | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | [0,1] | change in demand; pipe failure | 0 |  | none, none, none | one reservoir, one tank, seven pumps, 126 nodes, 91 pipes, and 59 isolation valves. The service area is primarily a residential community. minimum allowable pressure requirement: 275.8 kN=m2. A 15 m diameter cylindrical tank; 7 pumps | 1 | Zhuang.2013
Herrera, Manuel; Abraham, Edo; Stoianov, Ivan | A Graph-Theoretic Framework for Assessing the Resilience of Sectorised Water Distribution Networks | 10.1007/s11269-016-1245-6 | other | 2016 | resilience index | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 |  | pipe failure | 0 |  | none, none, none none, none, none | two water networks; origin not given | 4 | Herrera.2016
Balaei, Behrooz; Wilkinson, Suzanne; Potangaroa, Regan; Hassani, Nemat; Alavi-Shoshtari, Maryam | Developing a Framework for Measuring Water Supply Resilience | 10.1061/(ASCE)NH.1527-6996.0000292 | literature search | 2018 | water supply system seismic resilience indicator | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | [0,1] | independent | 0 |  | none | none | 4 | Balaei.2018
Ren, Kang; Huang, Shengzhi; Huang, Qiang; Wang, Hao; Leng, Guoyong; Fang, Wei; Li, Pei | Assessing the reliability, resilience and vulnerability of water supply system under multiple uncertain sources | 10.1016/j.jclepro.2019.119806 | literature search | 2020 | recovery rate | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 0 |  | change in supply | 0 |  | Han to Wei inter-basin water transfer, China, none | Han toWei IBWT project in Shaanxi province, China | 1 | Ren.2020
Milman, Anita; Short, Anne | Incorporating resilience into sustainability indicators: An example for the urban water sector | 10.1016/j.gloenvcha.2008.08.002 | literature search | 2008 | water provision resilience | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 |  | change in demand; change in supply; contamination | 0 |  | none | Case study of three WDS w/o looking at network or topology: České Budějovice - Czechia, San Juan Opico - El Savlador, Nogales - Mexico | 5 | Milman.2008
Cimellaro, G. P.; Tinebra, A.; Renschler, C.; Fragiadakis, M. | New Resilience Index for Urban Water Distribution Networks | 10.1061/(ASCE)ST.1943-541X.0001433 | literature search | 2015 | global resilience index | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 |  | pipe failure | 0 | https://doi.org/10.1016/S1462-0758(00)00049-2 | Calascibetta, Italy, none | one water Network in one Italian city | 1 | Cimellaro.2016b
Dwivedi, Anurag | Designing for resilience | 10.1117/12.2054389 | literature search | 2014 | relative number of connected node pairs | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0-100% | change in supply | 0 | https://www.routledge.com/Beyond-the-Storms-Strengthening-Homeland-Security-and-Disaster-Management/Egli/p/book/9780765641960 | none | communication network is considered but it is stated that the metric could also assess water networks | 4 | Dwivedi.2014
Amarasinghe, Pradeep; Liu, an; Egodawatta, Prasanna; Barnes, Paul; McGree, James; Goonetilleke, Ashantha | Quantitative assessment of resilience of a water supply system under rainfall reduction due to climate change | 10.1016/j.jhydrol.2016.07.021 | literature search | 2016 | Ratio for excess pressure beyond design pressure | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | [0,1] | change in supply | 0 |  | Queensland state, Australia, none | Water Grid system of Queensland State, Australia | 3 | Amarasinghe.2016
Amarasinghe, Pradeep; Liu, an; Egodawatta, Prasanna; Barnes, Paul; McGree, James; Goonetilleke, Ashantha | Quantitative assessment of resilience of a water supply system under rainfall reduction due to climate change | 10.1016/j.jhydrol.2016.07.021 | literature search | 2016 | Ratio for service capacity at threshold pressure to full service capacity | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | [0,1] | change in supply | 0 |  | Queensland state, Australia, none | Water Grid system of Queensland State, Australia | 3 | Amarasinghe.2016
Amarasinghe, Pradeep; Liu, an; Egodawatta, Prasanna; Barnes, Paul; McGree, James; Goonetilleke, Ashantha | Quantitative assessment of resilience of a water supply system under rainfall reduction due to climate change | 10.1016/j.jhydrol.2016.07.021 | literature search | 2016 | Degree of service capacity reduction with increased pressure | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0, inf; 0 is best | change in supply | 0 |  | Queensland state, Australia, none | Water Grid system of Queensland State, Australia | 3 | Amarasinghe.2016
Farahmandfar, Zeinab; Piratla, Kalyan R. | Comparative Evaluation of Topological and Flow-Based Seismic Resilience Metrics for Rehabilitation of Water Pipeline Systems | 10.1061/(ASCE)PS.1949-1204.0000293 | literature search | 2018 | Topology-Based Resilience Metric (Seismic) | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 |  | pipe failure | 0 |  | Charlston SC, USA, none | A section of the WSN that serves the Charleston Peninsula region in the state of South Carolina, slightly modified | 3 | Farahmandfar.2018
Farahmandfar, Zeinab; Piratla, Kalyan R. | Comparative Evaluation of Topological and Flow-Based Seismic Resilience Metrics for Rehabilitation of Water Pipeline Systems | 10.1061/(ASCE)PS.1949-1204.0000293 | literature search | 2018 | Flow-Based Resilience Metric | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | [0,1] | pipe failure | 0 | https://doi.org/10.1016/S1462-0758(00)00049-2 | Charlston SC, USA, none | A section of the WSN that serves the Charleston Peninsula region in the state of South Carolina, slightly modified | 1 | Farahmandfar.2018
Farahmandfar, Zeinab; Piratla, Kalyan R. | Comparative Evaluation of Topological and Flow-Based Seismic Resilience Metrics for Rehabilitation of Water Pipeline Systems | 10.1061/(ASCE)PS.1949-1204.0000293 | literature search | 2018 | serviceability index SI | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1 |  | pipe failure | 0 | https://doi.org/10.1061/(ASCE)HY.1943-7900.0000676 | Charlston SC, USA, none | A section of the WSN that serves the Charleston Peninsula region in the state of South Carolina, slightly modified | 1 | Farahmandfar.2018
Rak, J. R.; Żywiec, J. | Selected Aspects of the Water Supply System Safety | 10.1007/978-3-030-27011-7_47 | literature search | 2020 | resilience indicator | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 |  | independent | 0 |  | none | none | 4 | Rak.2020
Hernandez Hernandez, Erika; Ormsbee, Lindell | Segment-Based Assessment of Consequences of Failure on Water Distribution Systems | 10.1061/(ASCE)WR.1943-5452.0001340 | literature search | 2021 | topological metric | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | [0,1] | pipe failure | 0 |  | KY6, USA, https://doi.org/10.1061/9780784479865.049 | small water distribution system in the state of Kentucky | 3 | HernandezHernandez.2021
Hernandez Hernandez, Erika; Ormsbee, Lindell | Segment-Based Assessment of Consequences of Failure on Water Distribution Systems | 10.1061/(ASCE)WR.1943-5452.0001340 | literature search | 2021 | Pressure-Dependent Normal Demand Metric | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | [0,1] | pipe failure | 0 |  | KY6, USA, https://doi.org/10.1061/9780784479865.049 | small water distribution system in the state of Kentucky | 2 | HernandezHernandez.2021
Hernandez Hernandez, Erika; Ormsbee, Lindell | Segment-Based Assessment of Consequences of Failure on Water Distribution Systems | 10.1061/(ASCE)WR.1943-5452.0001340 | literature search | 2021 | Pressure-Dependent Hydrant Demand Metric | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 |  | pipe failure | 0 |  | KY6, USA, https://doi.org/10.1061/9780784479865.049 | small water distribution system in the state of Kentucky | 2 | HernandezHernandez.2021
Hernandez Hernandez, Erika; Ormsbee, Lindell | Segment-Based Assessment of Consequences of Failure on Water Distribution Systems | 10.1061/(ASCE)WR.1943-5452.0001340 | literature search | 2021 | Pressure-Dependent Fire Demand Metric | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 |  | pipe failure | 0 |  | KY6, USA, https://doi.org/10.1061/9780784479865.049 | small water distribution system in the state of Kentucky | 2 | HernandezHernandez.2021
Cubillo, Francisco; Martínez-Codina, Ángela | A metric approach to measure resilience in water supply systems | 10.1080/23249676.2017.1355758 | literature search | 2019 | resilience factor | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 |  | change in supply; pipe failure | 0 |  | none | water supply system managed by Canal de Isabel II, Autonomous Region of Madrid, Spain | 1 | Cubillo.2019
Bin Mahmoud, Abdulrahman A.; Piratla, Kalyan R. | Comparative evaluation of resilience metrics for water distribution systems using a pressure driven demandbased reliability approach | 10.2166/aqua.2018.010 | literature search | 2018 | probabilistic resilience index (PRI) | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 |  | pipe failure | 0 | https://doi.org/10.1016/S1462-0758(00)00049-2 | WDS-I, none, https://doi.org/10.1590/S0104-66322000000400053 WDS-II, none, https://www.public.asu.edu/~lwmays/Ozger_Mays.pdf (01.12.2022) Colorado Springs, USA, https://doi.org/10.1061/40800(180)85 | WDS-I (adapted from Costa et al. (2000)); WDS-II (adapted from Ozger & Mays (2003)); and WDS-III (adapted from Lippai (2005)). | 3 | BinMahmoud.2018
Sweya, Lukuba N.; Wilkinson, Suzanne; Mayunga, Joseph; Joseph, Aron; Lugomela, George; Victor, John | Development of a Tool to Measure Resilience against Floods for Water Supply Systems in Tanzania | 10.1061/(ASCE)ME.1943-5479.0000783 | literature search | 2020 | overall system resilience | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | [1,5] | independent | 0 |  | none | evaluated for two water authorities in Tanzania | 4 | Sweya.2020
Ottenburger, Sadeeb Simon; Bai, Shan; Raskob, Wolfgang | MCDA-based Genetic Algorithms for Developing Disaster Resilient Designs of Critical Supply Networks |  | literature search | 2019 | criticality-demand concentration | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  | change in demand | 0 |  | none | none | 3 | S.S.Ottenburger.2019
Ottenburger, Sadeeb Simon; Bai, Shan; Raskob, Wolfgang | MCDA-based Genetic Algorithms for Developing Disaster Resilient Designs of Critical Supply Networks |  | literature search | 2019 | composite resilience metric | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0 |  | change in demand | 0 |  | none | none | 4 | S.S.Ottenburger.2019
Liu, Haixing; Savic, Dragan; Kapelan, Zoran; Zhao, Ming; Yuan, Yixing; Zhao, Hongbin | A diameter-sensitive flow entropy method for reliability consideration in water distribution system design | 10.1002/2013WR014882 | literature search | 2014 | diameter-sensitive flow entropy | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 |  | change in demand; pipe failure | 0 | https://doi.org/10.1057/jors.1993.68 | Hanoi, Vietnam, https://doi.org/10.1029/WR026i004p00539 Six Loop Network, none, https://doi.org/10.1029/WR026i004p00539 | Six Loop network and Hanoi Network | 3 | Liu.2014
Di Nardo, Armando; Di Natale, Michele; Giudicianni, Carlo; Greco, Roberto; Santonastaso, Giovanni Francesco | Complex network and fractal theory for the assessment of water distribution network resilience to pipe failures | 10.2166/ws.2017.124 | literature search | 2018 | weighted average path length | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 |  | pipe failure | 1 |  | Villaricca, Italy, https://doi.org/10.1080/03052151003789858 Parete, Italy, https://doi.org/10.1080/03052151003789858 | two water networks in two Italian cities | 4 | DiNardo.2018
Di Nardo, Armando; Di Natale, Michele; Giudicianni, Carlo; Greco, Roberto; Santonastaso, Giovanni Francesco | Complex network and fractal theory for the assessment of water distribution network resilience to pipe failures | 10.2166/ws.2017.124 | literature search | 2018 | Bridge Ratio index | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 |  | pipe failure | 0 |  | Villaricca, Italy, https://doi.org/10.1080/03052151003789858 Parete, Italy, https://doi.org/10.1080/03052151003789858 | two water networks in two Italian cities | 4 | DiNardo.2018
Assad, Ahmed; Moselhi, Osama; Zayed, Tarek | A New Metric for Assessing Resilience of Water Distribution Networks | 10.3390/w11081701 | literature search | 2019 | resilience metric | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | [0,1] | pipe failure | 0 |  | London ON, Canada, none | part of London water network | 4 | Assad.2019
Farahmandfar, Zeinab; Piratla, Kalyan R.; Andrus, Ronald D. | Resilience Evaluation of Water Supply Networks against Seismic Hazards | 10.1061/(ASCE)PS.1949-1204.0000251 | literature search | 2017 | seismic Resilience Metric | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | [0,1] | pipe failure | 0 |  | Charlston SC, USA, none | Charlston, SC | 3 | Farahmandfar.2017
Sirsant, Swati; Reddy, M. Janga | Assessing the Performance of Surrogate Measures for Water Distribution Network Reliability | 10.1061/(ASCE)WR.1943-5452.0001244 | literature search | 2020 | combined entropy-resiliency index | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 |  | pipe failure; change in demand | 1 | https://doi.org/10.1057/jors.1993.68; https://doi.org/10.1016/S1462-0758(00)00049-2 | Two loop, none, https://doi.org/10.1029/WR013i006p00885 GoYang, none, Kim, J. H., T. G. Kim, J. H. Kim, and Y. N. Yoon. 1994. “A study on the pipe network system design using non-linear programming.” J. Korean Water Resour. Assoc. 27 (4): 59–67 Fossolo, none, https://doi.org/10.1007/s11081-011-9141-7 Ramnagar, India, none | four different networks, generic and real | 3 | Sirsant.2020
Sirsant, Swati; Reddy, M. Janga | Assessing the Performance of Surrogate Measures for Water Distribution Network Reliability | 10.1061/(ASCE)WR.1943-5452.0001244 | literature search | 2020 | combined network entropy-resiliency index | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 |  | pipe failure; change in demand | 1 | https://doi.org/10.1057/jors.1993.68; https://doi.org/10.1061/(ASCE)0733-9496(2004) 130:1(73) | Two loop, none, https://doi.org/10.1029/WR013i006p00885 GoYang, none, Kim, J. H., T. G. Kim, J. H. Kim, and Y. N. Yoon. 1994. “A study on the pipe network system design using non-linear programming.” J. Korean Water Resour. Assoc. 27 (4): 59–67 Fossolo, none, https://doi.org/10.1007/s11081-011-9141-7 Ramnagar, India, none | four different networks, generic and real | 3 | Sirsant.2020
Kong, Jingjing; Simonovic, Slobodan P; Zhang, Chao | Resilience Assessment of Interdependent Infrastructure Systems: A Case Study Based on Different Response Strategies (Kong et al.) | 10.3390/su11236552 | literature search | 2019 | Dynamic Infrastructure System Resilience Metric | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 |  | any component failure | 0 |  | none, none, none | generic WDS in 4x4 structure w/o source | 1 | Kong.2019
Zhao, S.; Liu, X.; Zhuo, Y. | Hybrid Hidden Markov Models for resilience metrics in a dynamic infrastructure system (Zhao et al. 2017) | 10.1016/j.ress.2017.02.009 | literature search | 2017 | total resilience | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | contamination | 0 |  | Huangpu River, China, none | Huangpu River | 1 | Zhao.2017
Krueger, E. H.; Borchardt, D.; Jawitz, J. W.; Klammler, H.; Yang, S.; Zischg, J.; Rao, P. S. C. | Resilience Dynamics of Urban Water Supply Security and Potential of Tipping Points (Krueger Borchardt et al. 2019) | 10.1029/2019EF001306 | literature search | 2019 | coupled service deficit and service management | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | service deficit = 0, service management capacity = 1 | change in demand; change in supply | 0 |  | none | Melbourne, Berlin, Singapore, Amman, Mexico City, Chennai, Ulan-Bataar not on network level but with other parameters | 1 | Krueger.2019
Zhang, Qingzhou; Zheng, Feifei; Chen, Qiuwen; Kapelan, Zoran; Diao, Kegong; Zhang, Kejia; Huang, Yuan | Improving the Resilience of Postdisaster Water Distribution Systems Using Dynamic Optimization Framework (Zhang, Q et al.) | 10.1061/(ASCE)WR.1943-5452.0001164 | literature search | 2020 | weighted resilience metric | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | pipe failure | 0 | https://onlinepubs.trb.org/onlinepubs/trnews/trnews250_p14-17.pdf | B-City, none, https://doi.org/10.1061/(ASCE)WR.1943-5452.0001239 | B-city/BWDS | 1 | Zhang.2020
Gonzales, Patricia; Ajami, Newsha K. | An integrative regional resilience framework for the changing urban water paradigm (Gonzales) | 10.1016/j.scs.2017.01.012 | literature search | 2017 | integrative resilience framework | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | [1,10] | change in supply; change in demand | 0 |  | none | Bay Area, SF, not on network level | 3 | Gonzales.2017
Yazdani, Alireza; Jeffrey, Paul | Water distribution system vulnerability analysis using weighted and directed network models (Yazdani) | 10.1029/2012WR011897 | literature search | 2012 | demand-adjusted entropic degree | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | independent | 1 | https://doi.org/10.1057/jors.1993.68 | Richmond, UK, https://doi.org/10.1061/(ASCE)0733-9496(2004)130:2(160) Colorado Springs CO, USA, https://doi.org/10.1061/40800(180)84 | Richmond, Colorado Springs | 4 | Yazdani.2012
Dubaniowski, Mateusz Iwo; Heinimann, Hans Rudolf | Framework for modeling interdependencies between households, businesses, and infrastructure system, and their response to disruptions—application (Dubaniowski) | 10.1016/j.ress.2021.107590 | literature search | 2021 | supply curve and total cost | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  | pipe failure; pump failure | 0 | https://doi.org/10.1016/j.ress.2020.107063 | none | Clementi district in Singapore but whole city area not just WDS | 2 | Dubaniowski.2021
He, Xiang; Yuan, Yongbo | A Framework of Identifying Critical Water Distribution Pipelines from Recovery Resilience (He) | 10.1007/s11269-019-02328-2 | literature search | 2019 | criticality score | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 |  | pipe failure | 0 | https://onlinepubs.trb.org/onlinepubs/trnews/trnews250_p14-17.pdf | none, none, https://doi.org/10.1080/1573062X.2011.617829 | WDS from Islam et al. 2011 Urban Water Journal | 3 | He.2019
Jeong, Gimoon; Kang, Doosun | Hydraulic Uniformity Index for Water Distribution Networks (Jeong) | 10.1061/(ASCE)WR.1943-5452.0001158 | literature search | 2020 | system-wide hydraulic uniformity index | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | minimize is best: min=0 | change in demand; pipe failure | 0 |  | Hanoi, Vietnam, none | Hanoi network | 3 | Jeong.2020
Di Nardo, A.; Di Natale, M.; Santonastaso, G. F.; Tzatchkov, V. G.; Alcocer-Yamanaka, V. H. | Performance indices for water network partitioning and sectorization (Di Nardo et al.) | 10.2166/ws.2014.132 | literature search | 2015 | Network Resilience Deviation | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | network partitioning; change in demand | 1 | https://doi.org/10.1016/S1462-0758(00)00049-2 | Parete, Italy, https://doi.org/10.1061/(ASCE)WR.1943-5452.0000364 Motamoros, Mexico, Tzatchkov, V. G., Alcocer-Yamanaka, V. H. & Rodriguez-Varela, J. M. 2006 Water distribution network sectorization projects in Mexican cities along the border with USA. In: Proceedings of the 3rd International Symposium on Transboundary Water Management, Ciudad Real, Spain, pp. 1–13. | Parete (Italien), Motamoros (Mexiko) | 3 | DiNardo.2015
Tanyimboh, T. T.; Templeman, A. B. | Optimum Design of Flexible Water Distribution Networks (Tanyimboh and Templeman) | 10.1080/02630259308970126 | literature search | 1993 | Shannon's entropy function | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  | pipe failure; change in demand | 1 |  | none, none, https://doi.org/10.1029/WR013i006p00885 | Alperovits and Shamir (1977) | 3 | TANYIMBOH.1993
Nasrazadani, Hossein; Mahsuli, Mojtaba | Probabilistic Framework for Evaluating Community Resilience: Integration of Risk Models and Agent-Based Simulation (Nazrazadani und Mojtaba) | 10.1061/(ASCE)ST.1943-541X.0002810 | literature search | 2020 | Resilience Measure | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | pump failure; change in supply | 1 |  | none | Community in northern Iran | 1 | Nasrazadani.2020
Creaco, Enrico; Franchini, Marco; Todini, Ezio | Generalized Resilience and Failure Indices for Use with Pressure-Driven Modeling and Leakage | 10.1061/(ASCE)WR.1943-5452.0000656 | literature search | 2016 | leakage-related power dissipation | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 |  | pipe failure | 1 | https://doi.org/10.1016/S1462-0758(00)00049-2 | none, none, https://doi.org/10.1029/WR013i006p00885 none, Italy, https://doi.org/10.1007/s11269-012-0018-0 none, Italy, https://doi.org/10.1080/1573062X.2012.690432 | two water networks in italy | 3 | Creaco.2016b
Wright, R.; Herrera, M.; Parpas, P.; Stoianov, I. | Hydraulic resilience index for the critical link analysis of multi-feed water distribution networks | 10.1016/j.proeng.2015.08.987 | literature search | 2015 | reserve Capacity | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  | pipe failure | 0 |  | Net3, none, Rossman et al. (1995) https://doi.org/10.1061/(ASCE)0733-9372(1994)120:4(803) | Net3 | 3 | Wright.2015
Cubides-Castro, Elkin; López-Aburto, Carlos; Iglesias-Rey, Pedro; Martínez-Solano, F.; Mora-Meliá, Daniel; Iglesias-Castelló, Marta | Methodology for Determining the Maximum Potentially Recoverable Energy in Water Distribution Networks (Cubides-Castro et al.) | 10.3390/w13040464 | literature search | 2021 | Potentially Recoverable Energy Index (PREI) | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | independent | 1 | https://doi.org/10.1016/S1462-0758(00)00049-2 | Net3, none, Rossman et al. (1995) https://doi.org/10.1061/(ASCE)0733-9372(1994)120:4(803) Anytown, none, Walski et al. (1987) https://doi.org/10.1061/(ASCE)0733-9496(1987)113:2(191) C-Town, none, Ostfeld et al. (2012) http://dx.doi.org/10.1061/(ASCE)WR.1943-5452.0000191 Balerma, Spain, Reca and Martínez (2006) https://doi.org/10.1029/2005WR004383 | Net3, Anytown, C-Town, Balerma | 3 | CubidesCastro.2021
Liu, Wei; Song, Zhaoyang; Ouyang, Min; Li, Jie | Recovery-based seismic resilience enhancement strategies of water distribution networks | 10.1016/j.ress.2020.107088 | literature search | 2020 | Seismic Resilience Index | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | pipe failure | 1 |  | Mianzhu, China, none | Mianzhu (China) | 1 | Liu.2020b
Izadi, Ardalan; Yazdandoost, Farhad; Ranjbar, Roza | Asset-Based Assessment of Resiliency in Water Distribution Networks | 10.1007/s11269-020-02508-5 | literature search | 2020 | Asset-based resilience | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 |  | pipe failure | 0 | https://doi.org/10.1016/j.engstruct.2010.08.008 | Isfahan, Iran, none |  | 1 | Izadi.2020
El-Baroudy, I; Simonovic, SP | Fuzzy criteria for the evaluation of water resource systems performance | 10.1029/2003WR002828 | literature search | 2004 | Fuzzy resilience index | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 |  | pipe failure | 0 |  | none, none, none none, none, none | pump connected to reservoir with individual pipeline pump connected to reservoir with parallel pipelines | 1 | ElBaroudy.2004
Huizar, Luis H.; Lansey, Kevin E.; Arnold, Robert G. | Sustainability, robustness, and resilience metrics for water and other infrastructure systems | 10.1080/23789689.2017.1345252 | literature search | 2018 | mean time to repair | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | change in supply; change in demand | 0 |  | Prescott Valley, USA, none |  | 1 | Huizar.2018
Huizar, Luis H.; Lansey, Kevin E.; Arnold, Robert G. | Sustainability, robustness, and resilience metrics for water and other infrastructure systems | 10.1080/23789689.2017.1345252 | literature search | 2018 | user severity | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | [0,1] | change in supply; change in demand | 0 | https://doi.org/10.1029/WR022i004p00489 | Prescott Valley, USA, none |  | 2 | Huizar.2018
Huizar, Luis H.; Lansey, Kevin E.; Arnold, Robert G. | Sustainability, robustness, and resilience metrics for water and other infrastructure systems | 10.1080/23789689.2017.1345252 | literature search | 2018 | user volumetric severity | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 is the best | change in supply; change in demand | 0 |  | Prescott Valley, USA, none |  | 2 | Huizar.2018
Huizar, Luis H.; Lansey, Kevin E.; Arnold, Robert G. | Sustainability, robustness, and resilience metrics for water and other infrastructure systems | 10.1080/23789689.2017.1345252 | literature search | 2018 | maintainability | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 |  |  | change in supply; change in demand | 0 |  | Prescott Valley, USA, none |  | 3 | Huizar.2018
Ulusoy, Aly-Joy; Stoianov, Ivan; Chazerain, Aurelie | Hydraulically informed graph theoretic measure of link criticality for the resilience analysis of water distribution networks | 10.1007/s41109-018-0079-y | other | 2018 | Water flow edge betweenness centrality | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | [0,1] | independent | 0 | https://doi.org/10.1016/j.socnet.2004.11.009 | Net3, none, Rossman et al. (1995) https://doi.org/10.1061/(ASCE)0733-9372(1994)120:4(803) Bristol Water Field Lab, United Kingdom, none |  | 4 | Ulusoy.2018
Cassottana, Beatrice; Aydin, Nazli Yonca; Tang, Loon Ching | Quantitative Assessment of System Response during Disruptions: An Application to Water Distribution Systems | 10.1061/(ASCE)WR.1943-5452.0001334 | other | 2021 | measure of performance (MOP) | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1 |  | independent | 1 |  | Net3, none, Rossman et al. (1995) https://doi.org/10.1061/(ASCE)0733-9372(1994)120:4(803) C-Town, none, Ostfeld et al. (2012) http://dx.doi.org/10.1061/(ASCE)WR.1943-5452.0000191 |  | 1 | Cassottana.2021

## Tabellenblatt2
point-based | Scenario types
graph-based | pipe failure
function-fulfillment | change in demand
any component failure
change in supply
| contamination | algae blooms
pump failure
network partitioning